{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"macros":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":2,"n_cols":10,"rows_kept":2,"flags":["formulas_cached_only"]}
["行政相对人名称","行政相对人代码_1 (统一社会信用代码)","法定代表人","行政处罚决定书文号","违法行为类型","违法事实","处罚依据","处罚内容","处罚决定日期","处罚机关"]
["无锡后墅污水处理有限公司","913202056754943608","蒋雄伟","锡环罚决〔2025〕36号","《中华人民共和国大气污染防治法》第八十条","2025年6月16日，我局执法人员对无锡后墅污水处理有限公司进行涉磷专项检查时，该企业从事污水处理，废水处理工艺为:调节池一厌氧池一好氧池一生化沉淀池一硝化反硝化一絮凝池一物化沉淀池一集水池一滤池-吸附池一滤池一出水。产生的废气处理工艺为：调节池和污泥房产生的恶臭废气，采用1套生物除臭系统（喷淋+生物吸附）处理后排放（DA002）；厌氧和污泥回流系统产生恶臭废气，采用1套化学洗涤（氧化塔+洗涤塔）处理后排放（DA001），现场检查时，发现该单位的生物除臭系统因故障未运行，化学洗涤的吸收塔委托第三方采样显示PH值为2.3，g构成未采取有效措施防止排放恶臭气体。","《中华人民共和国大气污染防治法》第一百一十七条第八项","罚款1万元","2025-09-30","无锡市生态环境局"]