{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["汇总"],"not_rendered":{"images":17,"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"汇总","index":0,"n_rows":12,"n_cols":11,"rows_kept":12,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["消防应急灯具产品质量监督抽查企业名单及结果"]
["序号","产品具体名称","商标","生产日期/货号","规格型号","标称生产企业","标称生产企业地址","受检单位","样品来源","抽查结果","认证机构"]
[1,"消防应急灯具","—","2025-04-07/-","HS-BLJC-1LROE II 1W-8001C","无锡皓安安全技术有限公司","江苏省无锡市滨湖区胡埭工业园胡埭路8号","无锡皓安安全技术有限公司","生产","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[2,"消防应急照明灯具","—","2025-04-01/-","LH-ZFZD-E2W-4010","无锡市联虹电器灯饰有限公司","无锡市新吴区湘江路18号","无锡市联虹电器灯饰有限公司","生产","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[3,"消防应急灯具","—","2025-04-30/-","A-BLJC-2LREII1W-A430BFH","江苏安科瑞电器制造有限公司","江阴市南闸街道东盟路5号","江苏安科瑞电器制造有限公司","生产","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[4,"集中电源集中控制型消防应急标志灯具","—","—","GM-BLJC-2LROE II 1W-1410A","江苏固曼智能制造有限公司","江苏省无锡市江阴市东外环路263号","江苏固曼智能制造有限公司","生产","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[5,"消防应急照明灯具","—","2025-02-01/-","AM-ZFZD-E3W-B01","中山市东凤镇艾民照明电器厂","广东省中山市东凤镇吉昌村达城路10号三楼之一","宜兴市胜杰消防器材维修有限公司","实体","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[6,"消防应急灯具","—","2024-09-20/-","RH-ZFZD-E5W-B01-36V","广东锐辉照明有限公司","广东省江门市蓬江区荷塘镇上围南二路3号11栋401室","无锡氿滨机电设备有限公司","实体","所检项目\n未发现不合格","应急管理部天津消防研究所"]
[7,"消防应急灯具","—","2017-07-22/-","YA-ZFZD-E5W-A01","中山市一安电子厂","中山市东凤镇民乐村同兴工业区","无锡兴之安消防器材有限公司","实体","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[8,"消防应急标志灯具","—","—","AY-BLZD-I1LROE3W","中山市东凤镇艾乙任照明电器厂","中山市东凤镇吉昌村达城路10号四楼之一","无锡兴之安消防器材有限公司","实体","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[9,"消防应急标志灯具","—","2024-08-10/-","YZ-BLZD-1LROE I 3W-DY","江门羽展智能科技有限公司 ","江门市新会区睦洲镇南安村民委员会牛角洪围","江阴市西郊丰乐五金电器经营部","实体","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]
[10,"消防应急标志灯具","—","2021-03-25/-","Z-BLZD-1LROEI3W-B0311","中山市泽上电子有限公司","广东省中山市古镇镇信恒路42号5楼","江阴市西郊丰乐五金电器经营部","实体","所检项目\n未发现不合格","应急管理部消防产品合格评定中心"]