{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["汇总"],"not_rendered":{"external_links":1,"defined_names":3},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"汇总","index":0,"n_rows":22,"n_cols":10,"rows_kept":22,"merged":[[0,0,0,9]],"flags":["formulas_cached_only"]}
["液化石油气产品质量监督抽查企业名单及结果"]
["序号","产品具体名称","商标","生产日期/货号","规格型号","标称生产企业","标称生产企业地址","受检单位","样品来源","抽查结果"]
[1,"液化石油气","/","2025-05-19","商品丙丁烷混合物","/","/","宜兴市公用燃气管理有限公司","实体店","所检项目\n未发现不合格"]
[2,"液化石油气","/","2025-05-19","商品丙丁烷混合物","/","/","宜兴市公用燃气管理有限公司","实体店","所检项目\n未发现不合格"]
[3,"液化石油气","/","2025-05-17","商品丙丁烷混合物","/","/","宜兴市公用燃气管理有限公司","实体店","所检项目\n未发现不合格"]
[4,"液化石油气","/","2025-05-17","商品丙丁烷混合物","/","/","宜兴市公用燃气管理有限公司","实体店","所检项目\n未发现不合格"]
[5,"液化石油气","/","2025-05-18","商品丙丁烷混合物","/","/","无锡市联丰燃气有限公司红明分公司","实体店","所检项目\n未发现不合格"]
[6,"液化石油气","/","2025-05-18","商品丙丁烷混合物","/","/","无锡市联丰燃气有限公司红明分公司","实体店","所检项目\n未发现不合格"]
[7,"液化石油气","/","2025-05-20","商品丙丁烷混合物","/","/","江阴市江成液化气有限公司","实体店","所检项目\n未发现不合格"]
[8,"液化石油气","/","2025-05-05","商品丙丁烷混合物","/","/","江阴市宏宇液化气有限公司","实体店","所检项目\n未发现不合格"]
[9,"液化石油气","/","2025-05-05","商品丙丁烷混合物","/","/","江阴市宏宇液化气有限公司","实体店","所检项目\n未发现不合格"]
[10,"液化石油气","/","2025-05-18","商品丙丁烷混合物","/","/","江阴天力液化气有限公司","实体店","所检项目\n未发现不合格"]
[11,"液化石油气","/","2025-05-18","商品丙丁烷混合物","/","/","江阴市安达燃气有限公司","实体店","所检项目\n未发现不合格"]
[12,"液化石油气","/","2025-05-18","商品丙丁烷混合物","/","/","江阴建青燃气有限公司","实体店","所检项目\n未发现不合格"]
[13,"液化石油气","/","2025-05-19","商品丙丁烷混合物","/","/","江阴市长寿液化气贮配有限公司","实体店","所检项目\n未发现不合格"]
[14,"液化石油气","/","2025-05-19","商品丙丁烷混合物","/","/","江阴市长寿液化气贮配有限公司","实体店","所检项目\n未发现不合格"]
[15,"液化石油气","/","2025-05-18","商品丙丁烷混合物","/","/","江阴市新桥辉源燃气有限公司","实体店","所检项目\n未发现不合格"]
[16,"液化石油气","/","2025-05-21","商品丙丁烷混合物","/","/","江阴市康达燃化有限公司","实体店","所检项目\n未发现不合格"]
[17,"液化石油气","/","2025-05-21","商品丙丁烷混合物","/","/","江阴市康达燃化有限公司","实体店","所检项目\n未发现不合格"]
[18,"液化石油气","/","2025-05-20","商品丙丁烷混合物","/","/","无锡市联丰燃气有限公司张泾分公司","实体店","所检项目\n未发现不合格"]
[19,"液化石油气","/","2025-05-21","商品丙丁烷混合物","/","/","无锡市联丰燃气有限公司张泾分公司","实体店","所检项目\n未发现不合格"]
[20,"液化石油气","/","2025-05-27","商品丙丁烷混合物","/","/","江阴市周庄散湖液化气有限公司","实体店","所检项目\n未发现不合格"]