{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["汇总"],"not_rendered":{"images":3,"defined_names":3},"read":"whole","date_system":"1900"}

{"sheet":"汇总","index":0,"n_rows":33,"n_cols":10,"rows_kept":33,"merged":[[0,0,0,9]]}
[" 建筑保温材料产品质量监督抽查企业名单及结果"]
["序号","产品具体名称","商标","生产日期/货号","规格型号","标称生产企业","标称生产企业地址","受检单位","样品来源","抽查结果"]
[1,"金属面玻镁岩棉夹芯板","/","2024-05-08/—","2880mm×1180mm×50mm/张","江苏中电创达建设装备科技有限公司","无锡市新吴区宏业路118号","/","生产企业","所检项目\n未发现不合格"]
[2,"金属面防火岩棉夹芯板","/","2025-04-30/—","2160mm×1150mm×50mm/张","无锡诚基德彩钢夹芯板钢构有限公司","无锡市新区硕放工业集中区五期E15号地块","/","生产企业","所检项目\n未发现不合格"]
[3,"挤塑聚苯板","/","2025-03-28/—","1200mm×600mm×30mm B1（C）级 030级 X150","倍优仕建材（江苏）有限公司","宜兴市杨巷镇竹塘村106号","/","生产企业","所检项目\n未发现不合格"]
[4,"酚醛复合板","/","2025-04-27/—","3000mm×1200mm×20mm B2级 10张/包","江阴市威腾铝箔合成材料有限公司","江阴市徐霞客镇璜塘工业集中区外环北路5号（经营场所:江阴市徐霞客镇璜塘环北路178号）","/","生产企业","所检项目\n未发现不合格"]
[5,"保温隔声板","/","2025-05-24/—","1200mm×600mm×20mm B1C级 21张/包","江阴益辉节能保温材料有限公司","江阴市长泾镇后巷路砻坊里7号","/","生产企业","所检项目\n未发现不合格"]
[6,"隔音隔热岩棉板","/","2025-05-16/—","900mm×600mm×45mm/张 8张/包","江阴市天润新型建材有限公司","江阴市夏港街道景贤西路806号","/","生产企业","所检项目\n未发现不合格"]
[7,"B1级橡塑保温板","/","2025-05-10/—","8000mm×1500mm×25mm 12平方/包 中嘉橡塑B1级 常用型","中嘉橡塑科技（江苏）有限公司","宜兴市屺亭街道杏里路8号","/","生产企业","所检项目\n未发现不合格"]
[8,"金属面夹芯板","/","2025-05-26","2750mm×1200mm×50mm","江苏皓波新材料科技有限公司","宜兴市芳桥街道龙泉南路10号","/","生产企业","所检项目\n未发现不合格"]
[9,"防火岩棉板","/","2025-05-11/—","1200mm×600mm×50mm","路顺环保科技（宜兴）有限公司","宜兴市杨巷镇工业集中区兴业大道北侧","/","生产企业","所检项目\n未发现不合格"]
[10,"聚苯乙烯泡沫塑料（XPS）","图形商标","2025-03-17","1670mm×600mm×20mm  B1（C）级 034级 X 200 15张/包","江苏绿羽节能科技有限公司","宜兴市官林镇官林村、滆湖村","/","生产企业","所检项目\n未发现不合格"]
[11,"模塑聚苯乙烯保温板（EPS）","/","2024-08-12/—","1200mm×600mm×10mm B1（B）级","宜兴市宏博包装有限公司","宜兴市万石镇漕南村","/","生产企业","所检项目\n未发现不合格"]
[12,"XPS挤塑聚苯板","/","2025-01-10","1200mm×600mm×20mm B2（D）级 X150 030级 17张/包","无锡友托环保科技有限公司","宜兴市周铁镇棠下村夏圩21号","/","生产企业","所检项目\n未发现不合格"]
[13,"双面彩钢酚醛复合保温板","/","2025-03-02","3000mm×1200mm×20mm 8张/包","江阴市维沃保温材料有限公司","江阴市徐霞客镇璜塘中兴路1号","/","生产企业","所检项目\n未发现不合格"]
[14,"金属面岩棉夹芯板","/","2025-05-12","3000mm×950mm×50mm/张","无锡市祥盛彩钢夹芯板有限公司","无锡市锡山经济开发区春笋东路100号","/","生产企业","所检项目\n未发现不合格"]
[15,"聚氨酯复合板","/","2025-05-11/—","1200mm×600mm×20mm 20张/包","江苏捷阳科技集团股份有限公司","无锡市锡山区东港镇东湖塘阳光工业园","/","生产企业","所检项目\n未发现不合格"]
[16,"复合岩棉板","/","2024-12-15/—","3700mm×1025mm×50mm/张","江阴市海盛船舶配套装潢有限公司","江阴市云亭街道松文头路1号","/","生产企业","所检项目\n未发现不合格"]
[17,"挤塑聚苯板XPS","/","2025-03-10","1200mm×600mm×20mm  B2级X150 034级  20张/包","江阴市宏汇达保温建材有限公司","江阴市华士镇华西三村陆瓠西路465-6号","/","生产企业","所检项目\n未发现不合格"]
[18,"挤塑聚苯板（XPS）","/","2024-12-28/-","1670mm×600mm×20mm  B2（E）X200  034级  15张/包","江阴威龙保温材料有限公司","江阴市华士镇红旗路47号","/","生产企业","所检项目\n未发现不合格"]
[19,"非建筑用挤塑聚苯乙烯（XPS）板材","/","2025-04-01/—","1800mm×600mm×80mm  B2 X150 5张/包","江阴明吉新型保温建材有限公司","江阴市华士镇澄鹿路221号","/","生产企业","所检项目\n未发现不合格"]
[20,"挤塑式聚苯乙烯保温板（XPS）","恒泰","2025-03-05","1200mm×600mm×60mm  B2（E） X150 030级 7片/包","江阴恒泰节能科技有限公司","江阴市华士镇勤丰路555号","/","生产企业","所检项目\n未发现不合格"]
[21,"绝热用挤塑式聚苯乙烯（XPS）板材","/","2025-02-23/-","1200mm×600mm×50mm  B2（E） X150 034级 5张/包","江阴市盈泰节能科技有限公司","江阴市华士镇澄鹿路建材市场内","/","生产企业","所检项目\n未发现不合格"]
[22,"挤塑聚苯板（XPS）","/","2025-03-21/—","1200mm×600mm×60mm X150 B1（C） 034级 7张/包","江阴市濠斯节能科技有限公司","江阴市华士镇连心路21号","/","生产企业","所检项目\n未发现不合格"]
[23,"挤塑聚苯板（XPS）","/","2025-03-05","1200mm×600mm×30mm X150 B2（E） 034级 14张/包","江阴市高盛节能材料有限公司","江阴市华士镇工业集中区金泰路-1号","/","生产企业","所检项目\n未发现不合格"]
[24,"绝热用挤塑聚苯乙烯泡沫板","/","2025-03-09","1200mm×600mm×50mm X150 B2（E） 034级 10张/包","无锡苏澄节能科技有限公司","江阴市华士镇香墩路13号","/","生产企业","所检项目\n未发现不合格"]
[25,"绝热用挤塑式聚苯乙烯保温板（XPS）","/","2025-03-15","1200mm×600mm×50mm X150 B2（E） 034级 10片/包","江阴久辰建筑材料有限公司","江阴市华士镇环西路22号","/","生产企业","所检项目\n未发现不合格"]
[26,"华美橡塑板材CLASS1","图形商标","2025-05-29/—","8m×1.5m×20mm/包 （CY）","华美节能科技集团有限公司","河北省大城县留各庄开发区","无锡奥美斯华美保温建材有限公司","实体店","所检项目\n未发现不合格"]
[27,"华美橡塑板材CLASS1","图形商标","2025-06-10/—","16m×1.5m×10mm/包 （CY）","华美节能科技集团有限公司","河北省大城县留各庄开发区","无锡奥美斯华美保温建材有限公司","实体店","所检项目\n未发现不合格"]
[28,"橡塑保温材料","/","2025-03-09/—","8000mm×1500mm×25mm/包（CY）","华美节能科技集团有限公司","河北省大城县留各庄开发区","新吴区梦帆五金经营部","实体店","所检项目\n未发现不合格"]
[29,"玻璃棉板保温材料","/","—/—","1200mm×600mm×25mm/块","华美节能科技集团玻璃棉制品有限公司","河北大城绝热节能材料产业园","新吴区梦帆五金经营部","实体店","所检项目\n未发现不合格"]
[30,"华美橡塑管材CLASS1","华美","2025-05-12/—","内径28mm 壁厚30mm 长度2m CLASS1（CY）","华美节能科技集团有限公司","河北省大城县留各庄开发区","无锡澎诚节能科技有限公司","实体店","所检项目\n未发现不合格"]
[31,"华美橡塑板材CLASS1","华美","2024-09-12/—","16m×1.5m×15mm CLASS1（CY）","华美节能科技集团有限公司","河北省大城县留各庄开发区","无锡时代新材保温材料有限公司","实体店","所检项目\n未发现不合格"]