{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["汇总","Sheet1"],"not_rendered":{"images":17,"external_links":1,"defined_names":5},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"汇总","index":0,"n_rows":22,"n_cols":11,"rows_kept":22,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["电线电缆（二）产品质量监督抽查企业名单及结果"]
["序号","产品具体名称","商标","生产日期/货号","规格型号","标称生产企业","标称生产企业地址","受检单位","样品来源","抽查结果","不合格项目名称"]
[1,"电力电缆","-","2025.5.28/-","YJV-0.6/1 5×6","江苏勇胜电缆科技有限公司","江苏省无锡市宜兴市高塍镇高遥村博大路71号","江苏勇胜电缆科技有限公司","生产企业","所检项目\n未发现不合格","-"]
[2,"交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","图形","2025年10月10日/20251010001","YJV22-0.6/1 4×35","江苏宏佳电缆有限公司","江苏省无锡市宜兴市官林镇工业集中区韶丰路20号（经营场所：宜兴市官林镇丰义丰新路8号）","江苏宏佳电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[3,"铜芯交联聚乙烯绝缘聚烯烃护套无卤低烟阻燃B1级电力电缆","-","2025-05-10/20250510001","WDZB1-YJY-0.6/1 3×10","江苏胜东线缆有限公司","江苏省无锡市宜兴市官林镇浒渎路1号-1","江苏胜东线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[4,"铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025.6.15/-","YJV-0.6/1 2×25","江苏博越电缆科技有限公司","江苏省无锡市宜兴市官林镇东尧村5号（宜金公路和韶丰路交叉口往北60米）","江苏博越电缆科技有限公司","生产企业","所检项目\n未发现不合格","-"]
[5,"铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形","2025.04.14/SN-D250414071","YJV-0.6/1 2×16","无锡市苏南电缆有限公司","江苏省无锡市宜兴市杨巷镇镇龙村兴业大道28号","无锡市苏南电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[6,"电力电缆","-","2025.7.15/-","YJV-0.6/1 5×6","无锡市凌达线缆有限公司","江苏省无锡市宜兴市官林镇工业区B区（官林钟楼东南800米）","无锡市凌达线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[7,"控制电缆","-","2025.05.18/-","KYJV-450/750 4×1.5","无锡市苏轩电缆有限公司","江苏省宜兴市官林镇滆湖村蒋家渎233号","无锡市苏轩电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[8," 铜芯交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","图形","2025-08-15/PR2025080201","YJV22-0.6/1 2×4","江苏鹏润电缆科技有限公司","江苏省无锡市宜兴市官林镇南庄村韶丰路17号","江苏鹏润电缆科技有限公司","生产企业","所检项目\n未发现不合格","-"]
[9,"电力电缆","-","2025年6月5日/25-0605-01","YJV-0.6/1 4×4","江苏奇立电缆有限公司","宜兴市官林镇丰义村官丰路60号","江苏奇立电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[10,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025/10/20/20251020090535","YJV-0.6/1 1×10","无锡市华美电缆有限公司","江苏省无锡市宜兴市官林镇工业集中区华美路18号","无锡市华美电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[11,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形","2025年06月06日/HT20250606008","YJV-0.6/1 3×6","江苏昊特电缆有限公司","江苏省无锡市宜兴市官林镇幸福路218号","江苏昊特电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[12,"电力电缆","-","2025-02-16/A-0216001","ZC-YJV-0.6/1 2×16","江苏润发电缆有限公司","江苏省无锡市宜兴市官林镇丰义新风中路78-1号","江苏润发电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[13,"铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025-08-03/250803","YJV-0.6/1 3×2.5","中南高新科技（无锡）有限公司","江苏省无锡市宜兴市官林镇韶丰路23号-1","中南高新科技（无锡）有限公司","生产企业","所检项目\n未发现不合格","-"]
[14,"一般用途单芯硬导体无护套电缆","-","2025年5月15日/-","60227 IEC 01（BV） 450/750V 4","无锡市长胜线缆有限公司","江苏省无锡市宜兴市杨巷镇坝塘村竹塘99号","无锡市长胜线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[15,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形","2025.06.08/DJ20250608-01","YJV-0.6/1 5×6","无锡市鼎佳线缆有限公司","江苏省无锡市宜兴市官林镇丰义村锦丰路3号","无锡市鼎佳线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[16,"交联聚乙烯绝缘钢带铠装聚氯乙烯护套阻燃C类电力电缆","图形","2025.10.11/BX251011-3","ZC-YJV22 0.6/1 2×4","无锡市曙光电缆有限公司","江苏省无锡市宜兴市官林镇都山村曙光路7号","无锡市曙光电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[17,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025.05.05/-","YJV-0.6/1 5×16","泛亚电缆有限公司","江苏省无锡市宜兴市官林镇工业C区（宜金公路与启迪路交汇处向东472米）","泛亚电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[18,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2024.07.20/-","YJV-0.6/1 3×10","江苏裕佳电缆有限公司","江苏省无锡市宜兴市官林镇新宜金北路588号-8","江苏裕佳电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[19,"电力电缆","图形","2024-8-6/2025080616","VV-0.6/1 3×16","江苏珠影特种电缆有限公司","江苏省无锡市宜兴市官林镇工业A区（宜金公路与义都路交叉口往西200米）","江苏珠影特种电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[20,"电力电缆","-","2025-10-24/-","YJV-0.6/1 3×4","江苏三木电缆有限公司官林分公司","江苏省无锡市宜兴市官林镇工业C区（官林教堂西南800米）","江苏三木电缆有限公司官林分公司","生产企业","所检项目\n未发现不合格","-"]

{"sheet":"Sheet1","index":1,"n_rows":22,"n_cols":11,"rows_kept":22,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["电线电缆（二）产品质量监督抽查企业名单及结果"]
["序号","产品具体名称","商标","生产日期/货号","规格型号","标称生产企业","标称生产企业地址","受检单位","样品来源","抽查结果","不合格项目名称"]
[1,"电力电缆","-","2025.5.28/-","YJV-0.6/1 5×6","江苏勇胜电缆科技有限公司","江苏省无锡市宜兴市高塍镇高遥村博大路71号","江苏勇胜电缆科技有限公司","生产企业","所检项目\n未发现不合格","-"]
[2,"交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","图形","2025年10月10日/20251010001","YJV22-0.6/1 4×35","江苏宏佳电缆有限公司","江苏省无锡市宜兴市官林镇工业集中区韶丰路20号（经营场所：宜兴市官林镇丰义丰新路8号）","江苏宏佳电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[3,"铜芯交联聚乙烯绝缘聚烯烃护套无卤低烟阻燃B1级电力电缆","-","2025-05-10/20250510001","WDZB1-YJY-0.6/1 3×10","江苏胜东线缆有限公司","江苏省无锡市宜兴市官林镇浒渎路1号-1","江苏胜东线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[4,"铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025.6.15/-","YJV-0.6/1 2×25","江苏博越电缆科技有限公司","江苏省无锡市宜兴市官林镇东尧村5号（宜金公路和韶丰路交叉口往北60米）","江苏博越电缆科技有限公司","生产企业","所检项目\n未发现不合格","-"]
[5,"铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形","2025.04.14/SN-D250414071","YJV-0.6/1 2×16","无锡市苏南电缆有限公司","江苏省无锡市宜兴市杨巷镇镇龙村兴业大道28号","无锡市苏南电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[6,"电力电缆","-","2025.7.15/-","YJV-0.6/1 5×6","无锡市凌达线缆有限公司","江苏省无锡市宜兴市官林镇工业区B区（官林钟楼东南800米）","无锡市凌达线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[7,"控制电缆","-","2025.05.18/-","KYJV-450/750 4×1.5","无锡市苏轩电缆有限公司","江苏省宜兴市官林镇滆湖村蒋家渎233号","无锡市苏轩电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[8," 铜芯交联聚乙烯绝缘钢带铠装聚氯乙烯护套电力电缆","图形","2025-08-15/PR2025080201","YJV22-0.6/1 2×4","江苏鹏润电缆科技有限公司","江苏省无锡市宜兴市官林镇南庄村韶丰路17号","江苏鹏润电缆科技有限公司","生产企业","所检项目\n未发现不合格","-"]
[9,"电力电缆","-","2025年6月5日/25-0605-01","YJV-0.6/1 4×4","江苏奇立电缆有限公司","宜兴市官林镇丰义村官丰路60号","江苏奇立电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[10,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025/10/20/20251020090535","YJV-0.6/1 1×10","无锡市华美电缆有限公司","江苏省无锡市宜兴市官林镇工业集中区华美路18号","无锡市华美电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[11,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形","2025年06月06日/HT20250606008","YJV-0.6/1 3×6","江苏昊特电缆有限公司","江苏省无锡市宜兴市官林镇幸福路218号","江苏昊特电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[12,"电力电缆","-","2025-02-16/A-0216001","ZC-YJV-0.6/1 2×16","江苏润发电缆有限公司","江苏省无锡市宜兴市官林镇丰义新风中路78-1号","江苏润发电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[13,"铜芯交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025-08-03/250803","YJV-0.6/1 3×2.5","中南高新科技（无锡）有限公司","江苏省无锡市宜兴市官林镇韶丰路23号-1","中南高新科技（无锡）有限公司","生产企业","所检项目\n未发现不合格","-"]
[14,"一般用途单芯硬导体无护套电缆","-","2025年5月15日/-","60227 IEC 01（BV） 450/750V 4","无锡市长胜线缆有限公司","江苏省无锡市宜兴市杨巷镇坝塘村竹塘99号","无锡市长胜线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[15,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","图形","2025.06.08/DJ20250608-01","YJV-0.6/1 5×6","无锡市鼎佳线缆有限公司","江苏省无锡市宜兴市官林镇丰义村锦丰路3号","无锡市鼎佳线缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[16,"交联聚乙烯绝缘钢带铠装聚氯乙烯护套阻燃C类电力电缆","图形","2025.10.11/BX251011-3","ZC-YJV22 0.6/1 2×4","无锡市曙光电缆有限公司","江苏省无锡市宜兴市官林镇都山村曙光路7号","无锡市曙光电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[17,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2025.05.05/-","YJV-0.6/1 5×16","泛亚电缆有限公司","江苏省无锡市宜兴市官林镇工业C区（宜金公路与启迪路交汇处向东472米）","泛亚电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[18,"交联聚乙烯绝缘聚氯乙烯护套电力电缆","-","2024.07.20/-","YJV-0.6/1 3×10","江苏裕佳电缆有限公司","江苏省无锡市宜兴市官林镇新宜金北路588号-8","江苏裕佳电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[19,"电力电缆","图形","2024-8-6/2025080616","VV-0.6/1 3×16","江苏珠影特种电缆有限公司","江苏省无锡市宜兴市官林镇工业A区（宜金公路与义都路交叉口往西200米）","江苏珠影特种电缆有限公司","生产企业","所检项目\n未发现不合格","-"]
[20,"电力电缆","-","2025-10-24/-","YJV-0.6/1 3×4","江苏三木电缆有限公司官林分公司","江苏省无锡市宜兴市官林镇工业C区（官林教堂西南800米）","江苏三木电缆有限公司官林分公司","生产企业","所检项目\n未发现不合格","-"]